# NBC 2020, Subsection 9.36

# Submittal Form

# Project Information

| The (name of jurisdiction) Requirements for Division B 9.36 Compliance |  |  |
| --- | --- | --- |
| Project Name: | 227NN01521 | Building Permit Number (Completed Internally) |
| Project Address: | 17 Duff Court, Bedford, NOVA SCOTIA, B4B 2P1 |  |
| Applicant Name: | Cresco Construction |  |
| Applicant Address: | {{T0_R4_C1}} |  |

# Project Design Conditions

| Climate zone (based on heating degree days in Celsius Degree-Days, per AHJ or Appendix C Table C2) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ Zone 4 (< 3000) | ☐ Zone 5 (3000 to 3999) | ☐ Zone 6 (4000 to 4999) | ☐ Zone 7A (5000 to 5999) | ☐ Zone 7B (6000 to 6999) | ☐ Zone 8 (7000 to 7999) |
| Occupancy type |  | Floor area | Fenestration and door area to gross wall ratio (FDWR) |  |  |
| Zone 6 (4000-4999 HDD) |  | HALIFAX; m2. | Fenestration & door area/; Gross wall area =; FDWR%. 31.5; m2/; 270.2; m2 =; 11.7; %. |

# Compliance Option

| Indicate Compliance Path |  | Energy Performance Tier | Building Envelope Trade-Off? | Forms to Complete |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | D1 | D2 | 9.36 Submittal Calculator |
| ☐ | Prescriptive (Subsections 9.36.2-9.36.4, 9.36.8) | ☐ 1 | ☐ No |  | √ |  |
|  |  |  | ☐ Yes |  | √ | √ (BE Trade-off tab) |
|  |  | ☐ 2-5 | - |  | √ | √ (Prescriptive Tier tab) |
| ☐ | Performance (Subsection 9.36.5, 9.36.7) | ☐ 1 | - | √ |  |  |
|  |  | ☐ 2-5 | - | √ |  | √ (Performance Tier tab) |
| Additional information to be submitted for review |  |  |  |  |  |  |
| ☐ Insulation and air barrier details in project drawing set, including: - Attic hatch - Eaves to top of wall transition - Upper floor rim joist - Slab/footing junction - Cantilever floors - Bonus room/living space over attached garage (including ducts and insulation coverage of ducts) - Typical electrical junction box detail - Typical window/door jamb and sill detail - (if applicable) Party wall meeting outside wall, electric meter/vent pipe/duct in insulated wall, skylight shaft walls, slab edges in walkouts and heated slabs, masonry fireplaces |  |  | ☐ Window & door schedule ☐ RSI assembly calculations ☐ Heat loss and heat gain calculations (CSA F280) ☐ Mechanical layout (i.e. duct design) ☐ Ventilation design (Subsection 9.32.3, or CSA F326) |  |  |  |

## Performance Compliance – Subsection 9.36.5

| Input Parameters |  |  |  |  |  |  | Reference Model | Proposed Model |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Opaque Assemblies |  |  |  |  |  |  | Effective Thermal Resistance (RSI) |  |
| Above-ground | Ceilings below attics |  |  |  |  |  | 8.67 | 9.07 |
|  | Cathedral ceilings and flat roofs |  |  |  |  |  | N/A | N/A |
|  | Walls |  |  |  |  |  | 2.97 | 3.01 |
|  | Floors over unheated spaces |  |  |  |  |  | 4.67 | 7.29 |
| Below-Grade or in Contact with Ground | Foundation walls |  |  |  |  |  | 2.98 | 3.10 |
|  | Unheated floors |  |  | below frost line |  |  | 0.00 | 2.10 |
|  |  |  |  | above frost line |  |  | N/A | N/A |
|  | Heated and unheated floors on permafrost |  |  |  |  |  | HOT2000 | HOT2000 |
|  | Heated floors |  |  |  |  |  | N/A | N/A |
|  | Slabs-on-grade with an integral footing |  |  |  |  |  | N/A | N/A |
| Fenestration, Doors, Skylights |  |  |  |  |  |  | U-factor, Energy Rating, RSIeff |  |
| Front orientation of house (N, NE, E, SE, S, SW, W, NW): |  |  |  |  |  |  | S |  |
| Windows |  |  | U-factor or ER |  |  |  | 1.60 | 2.05 |
|  |  |  | Solar Heat Gain Coefficient |  |  |  | 0.26 | 0.579 |
| Skylights |  |  | U-factor or ER |  |  |  | N/A | N/A |
|  |  |  | Solar Heat Gain Coefficient |  |  |  | 0.26 | N/A |
| Doors |  |  |  |  |  |  | 1.60 | 0.88 |
| Fenestration & door area to gross wall ratio, FDWR (%) |  |  |  |  |  |  | 17.0 | 11.7 |
| Airtightness |  |  |  |  |  |  | Air Changes per Hour (ACH @ 50 Pa) |  |
| ☐ Construction complies with Section 9.25 |  |  |  |  |  |  | 2.5 | 3.2 |
| ☐ Air barrier system constructed to Subsection 9.25.3 and Articles 9.36.2.9. and 9.36.2.10. |  |  |  |  |  |  | 2.5 | 2.5 |
| ☐ Airtightness tested (per Sentence 9.36.6.3.(1)) |  |  |  |  |  |  | ☐ 2.5 (detached house) ☐ 3.0 (attached house) | Max. test result target:. 1.7. |
| HVAC, Service Hot Water |  |  |  |  |  |  | Fuel & Equipment Type, Efficiencies |  |
| Heating System(s) |  |  |  |  |  |  | Natural gas Condensing, 92% AFUE; Central split system HSPF 7.10 | Natural gas Condensing, 96.1% AFUE; Central split system HSPF 7.13 |
| Cooling System |  |  | Capacity (kW) |  |  |  | 9.4 | 9.4 |
|  |  |  | SEER |  |  |  | 14.5 | 14 |
|  |  |  | ☐ Air Source Heat Pump? |  | HSPF V |  | 7.10 | 7.13 |
|  |  |  |  |  | Cutoff Temperature |  | N/A | -21.7 |
| Supplementary Heating System(s)3 |  |  |  |  |  |  | None | None |
| Ventilation System |  |  | Principal Ventilation Rate (L/s) |  |  |  | , 60%/55% efficiency |  |
|  |  |  | Runtime (hrs/day) |  |  |  | 8 |  |
|  |  |  | Fan Power (W) |  |  | @ 0°C | 2.32 W/L/s =; 2.32; W. | NA |
|  |  |  |  |  |  | @ -25°C |  | NA |
|  |  |  | Heat Recovery, % SRE |  |  | @ 0°C | none | NA |
|  |  |  |  |  |  | @ -25°C |  | NA |
| Service Water Heating System(s) |  |  |  |  |  |  | Natural gas Conventional tank, EF 0.575 | Electricity Conserver tank, EF 0.87 |
| Drain Water Heat Recovery |  | Recovery efficiency, flow configuration |  |  |  |  | none | %; NA; RE. ☐equal flow ☐unequal flow |
|  |  | # of showers connected (of total) |  |  |  |  |  | NA; of; NA. |

| Performance Software Calculations |  |  |  |
| --- | --- | --- | --- |
| Software Title: | HOT2000 v11.8 | Version: | HOT2000 v11.8 |
| Is software HOT2000v11 or ANSI/ASHRAE 140 compliant? |  | ☐ Yes ☐ No |  |
| Annual Energy Consumption (GJ/yr): |  | Reference House:; Proposed House:. 93.6; >; 72.3. |
| ☐ Full house energy report (or equivalent) generated by approved software is attached ☐ Air tightness test report is attached (if applicable) ☐ (if pursuing Energy Tier ≥ 2) 9.36 Submittal Calculator attached, demonstrating Energy Tier of; NA. |

| Performance Energy Modeling Professional |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Name: |  | Bradley Austen |  | Company: |  | Bradley Austen |  |
| Phone: |  | 902-469-1119 |  | Email: |  | 902-469-1119 |  |
| Accreditation or Evaluator/ Advisor/Rater License #: |  |  |  | NA |  |  |  |
| I hereby certify that the calculations submitted were prepared in full accordance with the operation and procedures of the software and: ☐ Subsection 9.36.5 of NBC 2020 OR ☐ EnerGuide Rating System v15 |  |  |  |  |  |  |  |
| Date: | 2025-03-26 |  | Signature: |  | 2025-03-26 |  |  |
| Designer(s) [name(s) & accreditation/licensing, of person(s) providing information herein to substantiate that design meets building code] |  |  |  |  |  |  |  |
| Name: |  | N0108 Cresco Construction Limite | Accreditation or licensing #: |  |  |  | N0108 Cresco Construction Limite |
| Phone: |  | 902-832-9297 | Email: |  |  |  | 902-469-1119 |
| Declaration of designer to have reviewed and take responsibility for the design work. |  |  |  |  |  |  |  |
| Date: | 2025-03-26 |  | Signature: |  | 2025-03-26 |  |  |

## Prescriptive Compliance

| Effective Thermal Resistance of Opaque Assemblies (RSI) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Assembly |  |  |  |  |  | Climate Zone |  |  |  |  |  |  |  |  |  |  |  | Proposed (min. effective RSI) |
|  |  |  |  |  |  | 4 | 5 |  | 6 |  | 7A |  |  | 7B | 8 |  |  | 9.06 |
| Above-ground |  | Ceilings below attics |  |  | ☐ w/out HRV | 6.91 | 8.67 |  |  |  | 10.43 |  |  |  |  |  |  | 3.24 |
|  |  |  |  |  | ☐ w/ HRV | 6.91 |  | 8.67 |  |  |  |  |  | 10.43 |  |  |  | 7.29 |
|  |  | Cathedral ceilings, flat roofs |  |  |  | 4.67 |  |  |  |  | 5.02 |  |  |  |  |  |  | NA |
|  |  | Walls |  |  | ☐ w/out HRV | 2.78 | 3.08 |  |  |  |  |  |  | 3.85 |  |  |  | N/A |
|  |  |  |  |  | ☐ w/ HRV | 2.78 | 2.97 |  |  |  |  |  |  | 3.08 |  |  |  | NA |
|  |  | Floors over unheated spaces |  |  |  | 4.67 |  |  |  |  | 5.02 |  |  |  |  |  |  | NA |
| Below-Grade or in Contact with Ground |  | Foundation walls |  |  | ☐ w/out HRV | 1.99 | 2.98 |  |  |  | 3.46 |  |  |  | 3.97 |  |  | 3.24 |
|  |  |  |  |  | ☐ w/ HRV | 1.99 | 2.98 |  |  |  |  |  |  |  |  |  |  | NA |
|  |  | Unheated floors |  | below frost line |  | Uninsulated |  |  |  |  |  |  |  |  |  |  |  | NA |
|  |  |  |  | above frost line |  | 1.96 |  |  |  |  |  |  |  |  |  |  |  | NA |
|  |  | Floors on permafrost |  |  |  | n/a |  |  |  |  |  |  |  | 4.44 |  |  |  | NA |
|  |  | Heated floors |  |  |  | 2.32 |  |  |  |  | 2.84 |  |  |  |  |  |  | NA |
|  |  | Slabs-on-grade w/ integr. footing |  |  | ☐ w/out HRV | 1.96 |  |  |  |  | 3.72 |  |  |  | 4.59 |  |  | NA |
|  |  |  |  |  | ☐ w/ HRV | 1.96 |  |  |  |  | 2.84 |  |  |  | 3.72 |  |  | NA |
| Thermal Characteristics of Fenestration, Doors and Skylights (U-value, ER) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assembly |  |  |  |  |  | Climate Zone |  |  |  |  |  |  |  |  |  |  |  | Proposed (max. U or min. ER) |
|  |  |  |  |  |  | 4 | 5 |  | 6 |  |  | 7A |  | 7B | 8 |  |  |  |
| Fenestration & doors |  |  | Max. U-value |  |  | 1.84 |  |  | 1.61 |  |  |  |  | 1.44 |  |  |  | 2.04 |
|  |  |  | Min. Energy Rating |  |  | 21 |  |  | 25 |  |  |  |  | 29 |  |  |  | 0.59 |
| Skylights (Max. U-value) |  |  |  |  |  | 2.92 |  |  | 2.75 |  |  |  |  | 2.41 |  |  |  | NA |
| One door exception (Max. U-value) |  |  |  |  |  | 2.6 |  |  |  |  |  |  |  |  |  |  |  | 0.88 |
| Access hatches (Min. RSIeff) |  |  |  |  |  | 2.6 |  |  |  |  |  |  |  |  |  |  |  | NA |
| HVAC Equipment Efficiency Requirements |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Equipment |  |  |  | Capacity kW |  | Standard |  |  |  | Min. Efficiency |  |  |  |  |  | Proposed (fuel & equipment type, efficiency) |  |  |
| Furnace | Gas-fired |  |  | ≤ 66 |  | CSA P.2 |  |  |  | AFUE ≥ 95% |  |  |  |  |  | 96.1 |  |  |
|  | Oil-fired |  |  |  |  |  |  |  |  | AFUE ≥ 85% |  |  |  |  |  | NA |  |  |
|  | Electric |  |  |  |  | - |  |  |  | See footnote 5 |  |  |  |  |  | NA |  |  |
| Boiler | Gas-fired |  |  | < 88 |  | CSA P.2 |  |  |  | AFUE ≥ 90% |  |  |  |  |  | NA |  |  |
|  | Oil-fired |  |  |  |  |  |  |  |  | AFUE ≥ 86% |  |  |  |  |  | NA |  |  |
|  | Electric |  |  |  |  | - |  |  |  | See footnote |  |  |  |  |  | NA |  |  |
| Air source heat pump – split |  |  |  | < 19 |  | CSA C656 |  |  |  | HSPF V ≥ 7.1 |  |  |  |  |  | NA |  |  |
| Combined space- and water-heating systems |  |  |  | ≤ 87.9 (boiler), or ≤ 73.2 (service water heater) |  | CSA-P.9 |  |  |  | TPF ≥ 0.80 |  |  |  |  |  | NA |  |  |
| Heat Recovery Ventilation |  |  |  | - |  | CSA-C439 |  |  |  | @0°C |  |  | 60 %SRE |  |  | 60.0 |  |  |
|  |  |  |  |  |  |  |  |  |  | @-25°C |  |  | 55 %SRE |  |  | 55.0 |  |  |
| (Other) |  |  |  | NA |  | NA |  |  |  | NA |  |  |  |  |  | NA |  |  |
| Service Water Heater Efficiency Requirements |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Equipment |  |  |  | Capacity |  | Standard |  |  |  | Min. Efficiency |  |  |  |  |  |  | Proposed (fuel & equipment type, efficiency) |  |
| Tank Storage |  | Electric (≤ 12 kW) |  | 50-270L |  | CSA-C191 |  |  |  | SL ≤ 35+0.20V (top in.) |  |  |  |  |  |  | 0.87 |  |
|  |  |  |  |  |  |  |  |  |  | SL ≤ 40+0.20V (bottom in.) |  |  |  |  |  |  | NA |  |
|  |  |  |  | 270-454L |  |  |  |  |  | SL ≤ 0.472V-38.5 (top in.) |  |  |  |  |  |  | NA |  |
|  |  |  |  |  |  |  |  |  |  | SL ≤ 0.472V-33.5 (bottom in.) |  |  |  |  |  |  | NA |  |
|  |  | Gas-fired (≤ 22 kW) |  | 1st hr <68 L |  | CSA-P.3 |  |  |  | UEF ≥ 0.3456 – 0.00053V |  |  |  |  |  |  | NA |  |
|  |  |  |  | 1st hr 68-192 L |  |  |  |  |  | UEF ≥ 0.5982 – 0.00050V |  |  |  |  |  |  | NA |  |
|  |  |  |  | 1st hr 193-283 L |  |  |  |  |  | UEF ≥ 0.6483 – 0.00045V |  |  |  |  |  |  | NA |  |
| Tankless, gas-fired (≤ 58.6 kW) |  |  |  | < 6.4 L/min |  | CSA-P.3 |  |  |  | UEF ≥ 0.86 |  |  |  |  |  |  | NA |  |
|  |  |  |  | ≥ 6.4 L/min |  |  |  |  |  | UEF ≥ 0.87 |  |  |  |  |  |  | NA |  |
| Heat pump water heaters |  |  |  | ≤24 A and ≤250 V |  | CSA-C745 |  |  |  | EF ≥ 2.1 |  |  |  |  |  |  | NA |  |
| (Other) |  |  |  | NA |  | NA |  |  |  | NA |  |  |  |  |  |  | NA |  |

Tiered Energy Compliance – Prescriptive Path

(if pursuing Energy Tier ≥ 2) Energy Tier Achieved:; NA; (from 9.36 Submittal Calculator – 9.36.8 tab).

| Designer(s) [name(s) & accreditation/licensing of person(s) providing information herein to substantiate that design meets building code] |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name: |  | N0108 Cresco Construction Limite | Accreditation or licensing #: |  | N0108 Cresco Construction Limite |
| Phone: |  | 902-832-9297 | Email: |  | 902-469-1119 |
| Declaration of designer to have reviewed and take responsibility for the design work. |  |  |  |  |  |
| Date: | 2025-03-26 |  | Signature: | 2025-03-26 |  |

Per Article 9.36.2.3

For houses with 1 or 2 dwelling units, the Reference model’s %FDWR shall be same as Proposed (if Proposed FDWR is 17-22%), or 17% (if Proposed FDWR is < 17%, or 22% (if Proposed FDWR is >22%).

If provided in the Proposed house

In accordance with Article 9.32.3.3. based on the number of bedrooms in the proposed house

Must be equipped with a high-efficiency constant torque or constant airflow fan motor

Must be equipped with automatic water temperature control

Only required for locations with a 2.5% January design temperature of less than -10°C